|  |  |  |  |  |  |  |  |  |  | No. | Kode |  | Nama Komponen |  |  |  | Qty | Spesifikasi Komponen |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | 1. | - |  | Manufacture label Electric Type |  |  |  | 1 | HVS Sticker 85 x 55 |  |  |  |
| Garis Potong Note : - label akan di aplikasikan dengan tinta cap - Tinta cap tidak mudah luntur |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  | Standard Application : |  |  |  |  | Specification : |  | Finishing : | Unit : mm | Papper : A4 |  |  | Scale : 1:1 | Projection : | Drawing Name : Manufacture label Electric type |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  | Drawn : Wahyu | Designed/ Customer : CINT | Checked : M.Rosyidin |  | Approved : Donald KL | Status : PRODUCTION DRAWING |  | Effective Date : | Page : – | PT. Chitose Internasional Tbk Research and Development Dept. |  |  |  |  | Product Name : NSB |
| NO | DATE | REMARK | DRAWN | CHECKED | APPROVED | APPROVED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

85

55

Lot No :

Type :

PT. Chitose Internasional Tbk	= 250 Kg

Jln.Industri III No.5 Utama Cimahi	I P X 4

40533, Jawa Barat Indonesia

= 185 Kg

Showroom - Marketing Office Distributor Center Jln. H.M.S. Mintaredja Baros Cimahi 40521, Indonesia Ph. +62 22 206 4777

AC 230V~,50/60Hz

Duty cycle 2 min ON/18 min OFF

Manufactured by Chitose	Int. : 10%, Max 2 min/ 18 min.

Daya : 345 VA

|  |  |  |  |  |  |  |  |  |  | No. | Kode |  | Nama Komponen |  |  |  | Qty | Spesifikasi Komponen |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  | 1. | - |  | Manufacture label Crank Manual Type |  |  |  | 1 | HVS Sticker 85 x 55 |  |  |  |
| Garis Potong Note : - label akan di aplikasikan dengan tinta cap - Tinta cap tidak mudah luntur |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  | Standard Application : |  |  |  |  | Specification : |  | Finishing : | Unit : mm | Papper : A4 |  |  | Scale : 1:1 | Projection : | Drawing Name : Manufacture label Crank Manual type |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  | Drawn : Wahyu | Designed/ Customer : CINT | Checked : M.Rosyidin |  | Approved : Donald KL | Status : PRODUCTION DRAWING |  | Effective Date : | Page : – | PT. Chitose Internasional Tbk Research and Development Dept. |  |  |  |  | Product Name : NSB |
| NO | DATE | REMARK | DRAWN | CHECKED | APPROVED | APPROVED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

85

Lot No :

Type :

PT. Chitose Internasional Tbk

Jln.Industri III No.5 Utama Cimahi	= 245 Kg

40533, Jawa Barat Indonesia

Showroom - Marketing Office	= 175 Kg

Distributor Center Jln. H.M.S. Mintaredja Baros Cimahi 40521, Indonesia Ph. +62 22 206 4777

Manufactured by Chitose

55