Corrective Action Request

CAR 1 of1

| Major Minor |  |  |
| --- | --- | --- |
| Organization: |  | PT. Chitose Internasional |  |  |  |  |  |  |
| Site(s) audited: |  | Jl. Industri III No. 5 Km. 8,7 Leuwigajah Cimahi, Jawa Barat – Indonesia |  | Date(s) of audit(s): |  |  |  | 28-29 June 2018 |
| Auditor(s): |  | AgungPribadi |  |  |  |  |  |  |
| Standard(s): |  | ISO 9001 : 2015 |  |  |  |  |  |  |
| Organization Representative: |  | Mr. Agung Tri Wahyu |  |  |  |  |  |  |
| Area / Department / Process: |  | Engineering |  |  |  |  |  |  |
| Document Ref.: |  | ProsedurPemeliharaan&Perbaikan |  | Standard Ref.: |  |  |  | 7.1.3 |
| Issue/Rev. Status: |  | 01 |  | CAR Close out date: |  |  |  | Next visit |
| Details of Non-Conformity: |  |  |  |  |  |  |  |  |
| Inconsistency in implementation preventive maintenance activity as refer to Jadwalpemeliharaantahun 2018 for example Air Compressor Kobelion II VS-75 KW , Generator D-01, and Air dryer 3 orion CRX 120D in 2 weekly basis. Since it verified the last evidences was maintained in period September 2017 |  |  |  |  |  |  |  |  |
| Organization Representative: |  |  |  |  | Auditor: |  |  |  |

| Cause Analysis and Corrective Action taken to prevent recurrence |  |  |  |
| --- | --- | --- | --- |
| Cause Analysis : Peninjauan terhadap hasil pemeliharanaan yang telah dilaksanakan tidak dilakukan, sehingga ada beberapa kegiatan pemeliharaan tidak dilakukan maupun dicatat yang dikarenakan:: - Mesin yang ada disekitar area engineering pemeliharaan dilakukan oleh personil yang tersedia dan tidak dibuat bukti tertulis karena mempunyai persepsi bahwa mesin disekitar area engineering dalam pemantauan. - Jadwal yang dibuat Lebih difokuskan untuk pemeliharaan mesin-mesin di area Produksi Corrective Action Taken : - Identifikasi checksheet dan catatan disesuaikan dengan mesin dan peralatan yang digunakan. - Dibuatkan Ceksheet dan catatan lain yang terkait terhadap Pemeliharaan Mesin yang berada di area ENG (Air Compressor Kobelion II VS-75 KW , Generator D-01, and Air dryer 3 orion CRX 120D) dan penetapan peninjau. |  |  |  |
| Organization Representative: | Mr. Deden | Date: | - 2 Juli 2018 |

| Acceptance of Corrective Action / Comments (useadditional sheets if necessary): |  |  |  |
| --- | --- | --- | --- |
| Auditor: |  | Date: |  |

| Response required (in months) | Major |  | Minor |  |
| --- | --- | --- | --- | --- |
| Corrective Action must be addressed within time frame stated. Verification of action will occur at next visit. Additional follow up may be required as indicated. | Define | - Close Out | Define | - Close Out |